## TD With
No. | Date/Time | Cost (£) | Energy (kWh) | Power (kW) | Power Factor | Current 1 (amps) | Current 2 (amps) | Current 3 (amps) | Voltage (volts) | CO2 (kg) | Reactive Energy (kVArh) | Apparent Power (kVA)
1 | 2025-06-24 09:28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246 | 0 | 0 | 0 | NOT included in calcs
2 | 2025-06-24 09:28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246.2 | 0 | 0 | 0
3 | 2025-06-24 09:28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246.5 | 0 | 0 | 0
4 | 2025-06-24 09:28 | 0 | 0.0001 | 0.138 | 0.53 | 0 | 0 | 1.1 | 245.1 | 0.0001 | 0.0002 | 0.257
5 | 2025-06-24 09:28 | 0 | 0.0001 | 0.134 | 0.52 | 0 | 0 | 1.1 | 244.9 | 0.0001 | 0.0002 | 0.257
6 | 2025-06-24 09:28 | 0 | 0.0001 | 0.131 | 0.51 | 0 | 0 | 1.1 | 244.9 | 0.0001 | 0.0002 | 0.257
7 | 2025-06-24 09:28 | 0 | 0.0001 | 0.13 | 0.51 | 0 | 0 | 1.1 | 244.8 | 0.0001 | 0.0002 | 0.257
8 | 2025-06-24 09:28 | 0 | 0.0001 | 0.13 | 0.51 | 0 | 0 | 1.1 | 244.8 | 0.0001 | 0.0002 | 0.257
9 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 244.8 | 0.0001 | 0.0002 | 0.233
10 | 2025-06-24 09:29 | 0 | 0.0001 | 0.118 | 0.51 | 0 | 0 | 1 | 244.8 | 0.0001 | 0.0002 | 0.233
11 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.233
12 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.233
13 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 245.4 | 0.0001 | 0.0002 | 0.233
14 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 245.6 | 0.0001 | 0.0002 | 0.233
15 | 2025-06-24 09:29 | 0 | 0.0001 | 0.116 | 0.5 | 0 | 0 | 1 | 245.8 | 0.0001 | 0.0002 | 0.233
16 | 2025-06-24 09:29 | 0 | 0.0001 | 0.118 | 0.5 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
17 | 2025-06-24 09:29 | 0 | 0.0001 | 0.116 | 0.5 | 0 | 0 | 1 | 245.8 | 0.0001 | 0.0002 | 0.234
18 | 2025-06-24 09:29 | 0 | 0.0001 | 0.116 | 0.5 | 0 | 0 | 1 | 245.7 | 0.0001 | 0.0002 | 0.233
19 | 2025-06-24 09:29 | 0 | 0.0001 | 0.115 | 0.5 | 0 | 0 | 1 | 245.2 | 0.0001 | 0.0002 | 0.233
20 | 2025-06-24 09:29 | 0 | 0.0001 | 0.116 | 0.5 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.233
21 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 244.7 | 0.0001 | 0.0002 | 0.232
22 | 2025-06-24 09:29 | 0 | 0.0001 | 0.115 | 0.5 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.233
23 | 2025-06-24 09:29 | 0 | 0.0001 | 0.116 | 0.5 | 0 | 0 | 1 | 244.8 | 0.0001 | 0.0002 | 0.233
24 | 2025-06-24 09:29 | 0 | 0.0001 | 0.118 | 0.51 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.233
25 | 2025-06-24 09:29 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
26 | 2025-06-24 09:29 | 0 | 0.0001 | 0.115 | 0.49 | 0 | 0 | 1 | 244.4 | 0.0001 | 0.0002 | 0.232
27 | 2025-06-24 09:29 | 0 | 0.0001 | 0.117 | 0.5 | 0 | 0 | 1 | 244.8 | 0.0001 | 0.0002 | 0.233
28 | 2025-06-24 09:29 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.233
29 | 2025-06-24 09:30 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.233
30 | 2025-06-24 09:30 | 0 | 0.0001 | 0.115 | 0.49 | 0 | 0 | 1 | 245.2 | 0.0001 | 0.0002 | 0.233
31 | 2025-06-24 09:30 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 245.2 | 0.0001 | 0.0002 | 0.233
32 | 2025-06-24 09:30 | 0 | 0.0001 | 0.115 | 0.49 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.233
33 | 2025-06-24 09:30 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.234
34 | 2025-06-24 09:30 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.234
35 | 2025-06-24 09:30 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.246
36 | 2025-06-24 09:30 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
37 | 2025-06-24 09:30 | 0 | 0.0001 | 0.111 | 0.47 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
38 | 2025-06-24 09:30 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
39 | 2025-06-24 09:30 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
40 | 2025-06-24 09:30 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
41 | 2025-06-24 09:30 | 0 | 0.0001 | 0.114 | 0.49 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
42 | 2025-06-24 09:30 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
43 | 2025-06-24 09:30 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
44 | 2025-06-24 09:30 | 0 | 0.0001 | 0.115 | 0.49 | 0 | 0 | 1 | 245.7 | 0.0001 | 0.0002 | 0.233
45 | 2025-06-24 09:30 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.245
46 | 2025-06-24 09:30 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 244.7 | 0.0001 | 0.0002 | 0.232
47 | 2025-06-24 09:30 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 244.1 | 0.0001 | 0.0002 | 0.232
48 | 2025-06-24 09:30 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 243.9 | 0.0001 | 0.0002 | 0.232
49 | 2025-06-24 09:31 | 0 | 0.0001 | 0.107 | 0.49 | 0 | 0 | 0.9 | 243.4 | 0.0001 | 0.0002 | 0.219
50 | 2025-06-24 09:31 | 0 | 0.0001 | 0.107 | 0.49 | 0 | 0 | 0.9 | 243.4 | 0 | 0.0002 | 0.219
51 | 2025-06-24 09:31 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 243.8 | 0.0001 | 0.0002 | 0.232
52 | 2025-06-24 09:31 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 244.4 | 0.0001 | 0.0002 | 0.232
53 | 2025-06-24 09:31 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.233
54 | 2025-06-24 09:31 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.234
55 | 2025-06-24 09:31 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
56 | 2025-06-24 09:31 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 246.3 | 0.0001 | 0.0002 | 0.246
57 | 2025-06-24 09:31 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 245.6 | 0.0001 | 0.0002 | 0.233
58 | 2025-06-24 09:31 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.233
59 | 2025-06-24 09:31 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.234
60 | 2025-06-24 09:31 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.234
61 | 2025-06-24 09:31 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
62 | 2025-06-24 09:31 | 0 | 0.0001 | 0.111 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
63 | 2025-06-24 09:31 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.234
64 | 2025-06-24 09:31 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
65 | 2025-06-24 09:31 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.234
66 | 2025-06-24 09:31 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.234
67 | 2025-06-24 09:31 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
68 | 2025-06-24 09:31 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
69 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
70 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
71 | 2025-06-24 09:32 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.247
72 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
73 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
74 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 248 | 0.0001 | 0.0002 | 0.248
75 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
76 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
77 | 2025-06-24 09:32 | 0 | 0.0001 | 0.118 | 0.47 | 0 | 0 | 1 | 248.1 | 0.0001 | 0.0002 | 0.248
78 | 2025-06-24 09:32 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 248.3 | 0.0001 | 0.0002 | 0.248
79 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 248.4 | 0.0001 | 0.0002 | 0.248
80 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 248.1 | 0.0001 | 0.0002 | 0.248
81 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
82 | 2025-06-24 09:32 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
83 | 2025-06-24 09:32 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 248 | 0.0001 | 0.0002 | 0.248
84 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
85 | 2025-06-24 09:32 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
86 | 2025-06-24 09:32 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.235
87 | 2025-06-24 09:32 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
88 | 2025-06-24 09:32 | 0 | 0.0001 | 0.111 | 0.47 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
89 | 2025-06-24 09:33 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
90 | 2025-06-24 09:33 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
91 | 2025-06-24 09:33 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.234
92 | 2025-06-24 09:33 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
93 | 2025-06-24 09:33 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
94 | 2025-06-24 09:33 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
95 | 2025-06-24 09:33 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 246.3 | 0.0001 | 0.0002 | 0.234
96 | 2025-06-24 09:33 | 0 | 0.0001 | 0.109 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.234
97 | 2025-06-24 09:33 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.235
98 | 2025-06-24 09:33 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
99 | 2025-06-24 09:33 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
100 | 2025-06-24 09:33 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.234
101 | 2025-06-24 09:33 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.247
102 | 2025-06-24 09:33 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
103 | 2025-06-24 09:33 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.247
104 | 2025-06-24 09:33 | 0 | 0.0001 | 0.109 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.234
105 | 2025-06-24 09:33 | 0 | 0.0001 | 0.112 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
106 | 2025-06-24 09:33 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
107 | 2025-06-24 09:33 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
108 | 2025-06-24 09:33 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
109 | 2025-06-24 09:34 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.234
110 | 2025-06-24 09:34 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
111 | 2025-06-24 09:34 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.234
112 | 2025-06-24 09:34 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
113 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
114 | 2025-06-24 09:34 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
115 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
116 | 2025-06-24 09:34 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
117 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
118 | 2025-06-24 09:34 | 0 | 0.0001 | 0.12 | 0.46 | 0 | 0 | 1.1 | 247.7 | 0.0001 | 0.0002 | 0.26
119 | 2025-06-24 09:34 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.234
120 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
121 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
122 | 2025-06-24 09:34 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
123 | 2025-06-24 09:34 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
124 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
125 | 2025-06-24 09:34 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
126 | 2025-06-24 09:34 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 247.4 | 0.0001 | 0.0002 | 0.247
127 | 2025-06-24 09:34 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.4 | 0.0001 | 0.0002 | 0.247
128 | 2025-06-24 09:34 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
129 | 2025-06-24 09:35 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
130 | 2025-06-24 09:35 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
131 | 2025-06-24 09:35 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.4 | 0.0001 | 0.0002 | 0.247
132 | 2025-06-24 09:35 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
133 | 2025-06-24 09:35 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
134 | 2025-06-24 09:35 | 0 | 0.0001 | 0.112 | 0.45 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
135 | 2025-06-24 09:35 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
136 | 2025-06-24 09:35 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
137 | 2025-06-24 09:35 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
138 | 2025-06-24 09:35 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
139 | 2025-06-24 09:35 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.247
140 | 2025-06-24 09:35 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
141 | 2025-06-24 09:35 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
142 | 2025-06-24 09:35 | 0 | 0.0001 | 0.112 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
143 | 2025-06-24 09:35 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
144 | 2025-06-24 09:35 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.246
145 | 2025-06-24 09:35 | 0 | 0.0001 | 0.107 | 0.46 | 0 | 0 | 1 | 246.3 | 0.0001 | 0.0002 | 0.234
146 | 2025-06-24 09:35 | 0 | 0.0001 | 0.109 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.235
147 | 2025-06-24 09:35 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
148 | 2025-06-24 09:35 | 0 | 0.0001 | 0.112 | 0.45 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
149 | 2025-06-24 09:36 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
150 | 2025-06-24 09:36 | 0 | 0.0001 | 0.112 | 0.45 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
151 | 2025-06-24 09:36 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
152 | 2025-06-24 09:36 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
153 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
154 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
155 | 2025-06-24 09:36 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
156 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
157 | 2025-06-24 09:36 | 0 | 0.0001 | 0.112 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
158 | 2025-06-24 09:36 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.247
159 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
160 | 2025-06-24 09:36 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.234
161 | 2025-06-24 09:36 | 0 | 0.0001 | 0.111 | 0.45 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
162 | 2025-06-24 09:36 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
163 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
164 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.3 | 0.0001 | 0.0002 | 0.246
165 | 2025-06-24 09:36 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
166 | 2025-06-24 09:36 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
167 | 2025-06-24 09:36 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 245.6 | 0.0001 | 0.0002 | 0.246
168 | 2025-06-24 09:36 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.246
169 | 2025-06-24 09:37 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.233
170 | 2025-06-24 09:37 | 0 | 0.0001 | 0.106 | 0.46 | 0 | 0 | 1 | 245.3 | 0 | 0.0002 | 0.233
171 | 2025-06-24 09:37 | 0 | 0.0001 | 0.107 | 0.46 | 0 | 0 | 1 | 244.6 | 0 | 0.0002 | 0.232
172 | 2025-06-24 09:37 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
173 | 2025-06-24 09:37 | 0 | 0.0001 | 0.107 | 0.46 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
174 | 2025-06-24 09:37 | 0 | 0.0001 | 0.106 | 0.46 | 0 | 0 | 1 | 244.4 | 0 | 0.0002 | 0.232
175 | 2025-06-24 09:37 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 244.9 | 0.0001 | 0.0002 | 0.233
176 | 2025-06-24 09:37 | 0 | 0.0001 | 0.107 | 0.46 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
177 | 2025-06-24 09:37 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.233
178 | 2025-06-24 09:37 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
179 | 2025-06-24 09:37 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
180 | 2025-06-24 09:37 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
181 | 2025-06-24 09:37 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
182 | 2025-06-24 09:37 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
183 | 2025-06-24 09:37 | 0 | 0.0001 | 0.112 | 0.45 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
184 | 2025-06-24 09:37 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
185 | 2025-06-24 09:37 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
186 | 2025-06-24 09:37 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.246
187 | 2025-06-24 09:37 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
188 | 2025-06-24 09:37 | 0 | 0.0001 | 0.113 | 0.46 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
189 | 2025-06-24 09:38 | 0 | 0.0001 | 0.112 | 0.45 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
190 | 2025-06-24 09:38 | 0 | 0.0001 | 0.107 | 0.46 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
191 | 2025-06-24 09:38 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.233
192 | 2025-06-24 09:38 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.233
193 | 2025-06-24 09:38 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 245.8 | 0.0001 | 0.0002 | 0.246
194 | 2025-06-24 09:38 | 0 | 0.0001 | 0.108 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
195 | 2025-06-24 09:38 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
196 | 2025-06-24 09:38 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
197 | 2025-06-24 09:38 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.246
198 | 2025-06-24 09:38 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.246
199 | 2025-06-24 09:38 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
200 | 2025-06-24 09:38 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.9 | 0.0001 | 0.0002 | 0.247
201 | 2025-06-24 09:38 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
202 | 2025-06-24 09:38 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
203 | 2025-06-24 09:38 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
204 | 2025-06-24 09:38 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
205 | 2025-06-24 09:38 | 0 | 0.0001 | 0.12 | 0.48 | 0 | 0 | 1 | 247.1 | 0.0001 | 0.0002 | 0.247
206 | 2025-06-24 09:38 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
207 | 2025-06-24 09:38 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
208 | 2025-06-24 09:38 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
209 | 2025-06-24 09:39 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
210 | 2025-06-24 09:39 | 0 | 0.0001 | 0.124 | 0.48 | 0 | 0 | 1.1 | 247.7 | 0.0001 | 0.0002 | 0.26
211 | 2025-06-24 09:39 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
212 | 2025-06-24 09:39 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
213 | 2025-06-24 09:39 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.247
214 | 2025-06-24 09:39 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.4 | 0.0001 | 0.0002 | 0.247
215 | 2025-06-24 09:39 | 0 | 0.0001 | 0.12 | 0.49 | 0 | 0 | 1 | 246.6 | 0.0001 | 0.0002 | 0.247
216 | 2025-06-24 09:39 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
217 | 2025-06-24 09:39 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.3 | 0.0001 | 0.0002 | 0.247
218 | 2025-06-24 09:39 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
219 | 2025-06-24 09:39 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 248.2 | 0.0001 | 0.0002 | 0.248
220 | 2025-06-24 09:39 | 0 | 0.0001 | 0.123 | 0.47 | 0 | 0 | 1.1 | 247.9 | 0.0001 | 0.0002 | 0.26
221 | 2025-06-24 09:39 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
222 | 2025-06-24 09:39 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
223 | 2025-06-24 09:39 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
224 | 2025-06-24 09:39 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
225 | 2025-06-24 09:39 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
226 | 2025-06-24 09:39 | 0 | 0.0001 | 0.12 | 0.48 | 0 | 0 | 1 | 247.6 | 0.0001 | 0.0002 | 0.248
227 | 2025-06-24 09:39 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 248.1 | 0.0001 | 0.0002 | 0.248
228 | 2025-06-24 09:39 | 0 | 0.0001 | 0.125 | 0.48 | 0 | 0 | 1.1 | 248 | 0.0001 | 0.0002 | 0.26
229 | 2025-06-24 09:40 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
230 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.47 | 0 | 0 | 1 | 247.9 | 0.0001 | 0.0002 | 0.248
231 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.8 | 0.0001 | 0.0002 | 0.248
232 | 2025-06-24 09:40 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247.4 | 0.0001 | 0.0002 | 0.247
233 | 2025-06-24 09:40 | 0 | 0.0001 | 0.125 | 0.48 | 0 | 0 | 1.1 | 247.4 | 0.0001 | 0.0002 | 0.26
234 | 2025-06-24 09:40 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 247.7 | 0.0001 | 0.0002 | 0.248
235 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.5 | 0.0001 | 0.0002 | 0.248
236 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
237 | 2025-06-24 09:40 | 0 | 0.0001 | 0.115 | 0.46 | 0 | 0 | 1 | 247.2 | 0.0001 | 0.0002 | 0.247
238 | 2025-06-24 09:40 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
239 | 2025-06-24 09:40 | 0 | 0.0001 | 0.119 | 0.48 | 0 | 0 | 1 | 246.8 | 0.0001 | 0.0002 | 0.247
240 | 2025-06-24 09:40 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
241 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
242 | 2025-06-24 09:40 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.247
243 | 2025-06-24 09:40 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
244 | 2025-06-24 09:40 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.234
245 | 2025-06-24 09:40 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
246 | 2025-06-24 09:40 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
247 | 2025-06-24 09:40 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 247 | 0.0001 | 0.0002 | 0.247
248 | 2025-06-24 09:40 | 0 | 0.0001 | 0.12 | 0.49 | 0 | 0 | 1 | 245.6 | 0.0001 | 0.0002 | 0.246
249 | 2025-06-24 09:41 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.233
250 | 2025-06-24 09:41 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 245.3 | 0.0001 | 0.0002 | 0.245
251 | 2025-06-24 09:41 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.245
252 | 2025-06-24 09:41 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 244.9 | 0.0001 | 0.0002 | 0.233
253 | 2025-06-24 09:41 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 244.8 | 0.0001 | 0.0002 | 0.233
254 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
255 | 2025-06-24 09:41 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 244.3 | 0.0001 | 0.0002 | 0.232
256 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.3 | 0.0001 | 0.0002 | 0.232
257 | 2025-06-24 09:41 | 0 | 0.0001 | 0.11 | 0.48 | 0 | 0 | 1 | 244 | 0.0001 | 0.0002 | 0.232
258 | 2025-06-24 09:41 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 244.3 | 0.0001 | 0.0002 | 0.232
259 | 2025-06-24 09:41 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 244.1 | 0.0001 | 0.0002 | 0.232
260 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 243.8 | 0.0001 | 0.0002 | 0.232
261 | 2025-06-24 09:41 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 243.8 | 0.0001 | 0.0002 | 0.232
262 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.4 | 0.0001 | 0.0002 | 0.232
263 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.4 | 0.0001 | 0.0002 | 0.232
264 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
265 | 2025-06-24 09:41 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 244.2 | 0.0001 | 0.0002 | 0.232
266 | 2025-06-24 09:41 | 0 | 0.0001 | 0.11 | 0.48 | 0 | 0 | 1 | 243.7 | 0.0001 | 0.0002 | 0.231
267 | 2025-06-24 09:41 | 0 | 0.0001 | 0.112 | 0.49 | 0 | 0 | 1 | 243.2 | 0.0001 | 0.0002 | 0.231
268 | 2025-06-24 09:41 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 243.4 | 0.0001 | 0.0002 | 0.231
269 | 2025-06-24 09:42 | 0 | 0.0001 | 0.11 | 0.48 | 0 | 0 | 1 | 243.8 | 0.0001 | 0.0002 | 0.232
270 | 2025-06-24 09:42 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.244
271 | 2025-06-24 09:42 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 244.5 | 0.0001 | 0.0002 | 0.232
272 | 2025-06-24 09:42 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.245
273 | 2025-06-24 09:42 | 0 | 0.0001 | 0.113 | 0.48 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.233
274 | 2025-06-24 09:42 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.245
275 | 2025-06-24 09:42 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 245.5 | 0.0001 | 0.0002 | 0.246
276 | 2025-06-24 09:42 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.246
277 | 2025-06-24 09:42 | 0 | 0.0001 | 0.117 | 0.48 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.246
278 | 2025-06-24 09:42 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
279 | 2025-06-24 09:42 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246.5 | 0.0001 | 0.0002 | 0.246
280 | 2025-06-24 09:42 | 0 | 0.0001 | 0.114 | 0.46 | 0 | 0 | 1 | 246.3 | 0.0001 | 0.0002 | 0.246
281 | 2025-06-24 09:42 | 0 | 0.0001 | 0.118 | 0.48 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.246
282 | 2025-06-24 09:42 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
283 | 2025-06-24 09:42 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 246.7 | 0.0001 | 0.0002 | 0.247
284 | 2025-06-24 09:42 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.4 | 0.0001 | 0.0002 | 0.234
285 | 2025-06-24 09:42 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246.2 | 0.0001 | 0.0002 | 0.234
286 | 2025-06-24 09:42 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.246
287 | 2025-06-24 09:42 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245.6 | 0.0001 | 0.0002 | 0.233
288 | 2025-06-24 09:42 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.245
289 | 2025-06-24 09:43 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.245
290 | 2025-06-24 09:43 | 0 | 0.0001 | 0.113 | 0.49 | 0 | 0 | 1 | 244.6 | 0.0001 | 0.0002 | 0.232
291 | 2025-06-24 09:43 | 0 | 0.0001 | 0.111 | 0.48 | 0 | 0 | 1 | 245.2 | 0.0001 | 0.0002 | 0.233
292 | 2025-06-24 09:43 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 245 | 0.0001 | 0.0002 | 0.245
293 | 2025-06-24 09:43 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 245.8 | 0.0001 | 0.0002 | 0.246
294 | 2025-06-24 09:43 | 0 | 0.0001 | 0.117 | 0.47 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.246
295 | 2025-06-24 09:43 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.246
296 | 2025-06-24 09:43 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 245.8 | 0.0001 | 0.0002 | 0.233
297 | 2025-06-24 09:43 | 0 | 0.0001 | 0.109 | 0.47 | 0 | 0 | 1 | 245.9 | 0.0001 | 0.0002 | 0.234
298 | 2025-06-24 09:43 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 245.7 | 0.0001 | 0.0002 | 0.246
299 | 2025-06-24 09:43 | 0 | 0.0001 | 0.116 | 0.47 | 0 | 0 | 1 | 245.1 | 0.0001 | 0.0002 | 0.245
300 | 2025-06-24 09:43 | 0 | 0.0001 | 0.115 | 0.47 | 0 | 0 | 1 | 245.4 | 0.0001 | 0.0002 | 0.245
301 | 2025-06-24 09:43 | 0 | 0.0001 | 0.11 | 0.47 | 0 | 0 | 1 | 246 | 0.0001 | 0.0002 | 0.234
302 | 2025-06-24 09:43 | 0 | 0.0001 | 0.112 | 0.48 | 0 | 0 | 1 | 246.1 | 0.0001 | 0.0002 | 0.234
303 | 2025-06-24 09:43 | 0 | 0 | 0.031 | 0.36 | 0 | 0 | 0.4 | 247.8 | 0 | 0.0001 | 0.087
304 | 2025-06-24 09:43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.1 | 0 | 0 | 0
305 | 2025-06-24 09:43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.2 | 0 | 0 | 0
306 | 2025-06-24 09:43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.1 | 0 | 0 | 0
307 | 2025-06-24 09:43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.9 | 0 | 0 | 0

## TD Baseline
No. | Date/Time | Cost (£) | Energy (kWh) | Power (kW) | Power Factor | Current 1 (amps) | Current 2 (amps) | Current 3 (amps) | Voltage (volts) | CO2 (kg) | Reactive Energy (kVArh) | Apparent Power (kVA)
1 | 2025-06-24 09:09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246.4 | 0 | 0 | 0
2 | 2025-06-24 09:09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246.4 | 0 | 0 | 0
3 | 2025-06-24 09:09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.5 | 0 | 0 | 0
4 | 2025-06-24 09:09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.5 | 0 | 0 | 0
5 | 2025-06-24 09:09 | 0 | 0.0002 | 0.202 | 0.83 | 0 | 0 | 1 | 243.5 | 0.0001 | 0.0001 | 0.244
6 | 2025-06-24 09:09 | 0 | 0.0002 | 0.215 | 0.71 | 0 | 0 | 1.3 | 243.2 | 0.0001 | 0.0002 | 0.304
7 | 2025-06-24 09:09 | 0 | 0.0002 | 0.182 | 0.62 | 0 | 0 | 1.2 | 244.1 | 0.0001 | 0.0002 | 0.293
8 | 2025-06-24 09:09 | 0 | 0.0001 | 0.161 | 0.58 | 0 | 0 | 1.2 | 244.1 | 0.0001 | 0.0002 | 0.281
9 | 2025-06-24 09:09 | 0 | 0.0001 | 0.151 | 0.54 | 0 | 0 | 1.2 | 244.4 | 0.0001 | 0.0002 | 0.281
10 | 2025-06-24 09:10 | 0 | 0.0001 | 0.145 | 0.52 | 0 | 0 | 1.2 | 244.2 | 0.0001 | 0.0002 | 0.281
11 | 2025-06-24 09:10 | 0 | 0.0001 | 0.139 | 0.49 | 0 | 0 | 1.2 | 244 | 0.0001 | 0.0002 | 0.281
12 | 2025-06-24 09:10 | 0 | 0.0001 | 0.135 | 0.48 | 0 | 0 | 1.2 | 243.8 | 0.0001 | 0.0002 | 0.28
13 | 2025-06-24 09:10 | 0 | 0.0001 | 0.133 | 0.47 | 0 | 0 | 1.2 | 243.8 | 0.0001 | 0.0002 | 0.28
14 | 2025-06-24 09:10 | 0 | 0.0001 | 0.134 | 0.48 | 0 | 0 | 1.2 | 243.5 | 0.0001 | 0.0002 | 0.28
15 | 2025-06-24 09:10 | 0 | 0.0001 | 0.134 | 0.48 | 0 | 0 | 1.2 | 243.6 | 0.0001 | 0.0002 | 0.28
16 | 2025-06-24 09:10 | 0 | 0.0001 | 0.13 | 0.46 | 0 | 0 | 1.2 | 243.9 | 0.0001 | 0.0002 | 0.28
17 | 2025-06-24 09:10 | 0 | 0.0001 | 0.123 | 0.46 | 0 | 0 | 1.1 | 244.6 | 0.0001 | 0.0002 | 0.269
18 | 2025-06-24 09:10 | 0 | 0.0001 | 0.123 | 0.44 | 0 | 0 | 1.2 | 244.3 | 0.0001 | 0.0002 | 0.281
19 | 2025-06-24 09:10 | 0 | 0.0001 | 0.12 | 0.45 | 0 | 0 | 1.1 | 243.8 | 0.0001 | 0.0002 | 0.268
20 | 2025-06-24 09:10 | 0 | 0.0001 | 0.121 | 0.45 | 0 | 0 | 1.1 | 243.2 | 0.0001 | 0.0002 | 0.267
21 | 2025-06-24 09:10 | 0 | 0.0001 | 0.117 | 0.44 | 0 | 0 | 1.1 | 243 | 0.0001 | 0.0002 | 0.267
22 | 2025-06-24 09:10 | 0 | 0.0001 | 0.122 | 0.44 | 0 | 0 | 1.2 | 242.8 | 0.0001 | 0.0002 | 0.279
23 | 2025-06-24 09:10 | 0 | 0.0001 | 0.112 | 0.42 | 0 | 0 | 1.1 | 242.5 | 0.0001 | 0.0002 | 0.267
24 | 2025-06-24 09:10 | 0 | 0.0001 | 0.109 | 0.41 | 0 | 0 | 1.1 | 242.4 | 0.0001 | 0.0002 | 0.267
25 | 2025-06-24 09:10 | 0 | 0.0001 | 0.105 | 0.39 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
26 | 2025-06-24 09:10 | 0 | 0.0001 | 0.103 | 0.39 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
27 | 2025-06-24 09:10 | 0 | 0.0001 | 0.099 | 0.37 | 0 | 0 | 1.1 | 242.7 | 0 | 0.0002 | 0.267
28 | 2025-06-24 09:10 | 0 | 0.0001 | 0.103 | 0.37 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
29 | 2025-06-24 09:10 | 0 | 0.0001 | 0.102 | 0.36 | 0 | 0 | 1.2 | 243.3 | 0 | 0.0002 | 0.28
30 | 2025-06-24 09:11 | 0 | 0.0001 | 0.098 | 0.35 | 0 | 0 | 1.2 | 243.4 | 0 | 0.0002 | 0.28
31 | 2025-06-24 09:11 | 0 | 0.0001 | 0.093 | 0.35 | 0 | 0 | 1.1 | 243.8 | 0 | 0.0002 | 0.268
32 | 2025-06-24 09:11 | 0 | 0.0001 | 0.098 | 0.35 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
33 | 2025-06-24 09:11 | 0 | 0.0001 | 0.093 | 0.35 | 0 | 0 | 1.1 | 243 | 0 | 0.0002 | 0.267
34 | 2025-06-24 09:11 | 0 | 0.0001 | 0.091 | 0.34 | 0 | 0 | 1.1 | 243.2 | 0 | 0.0002 | 0.267
35 | 2025-06-24 09:11 | 0 | 0.0001 | 0.092 | 0.34 | 0 | 0 | 1.1 | 243.5 | 0 | 0.0002 | 0.268
36 | 2025-06-24 09:11 | 0 | 0.0001 | 0.091 | 0.34 | 0 | 0 | 1.1 | 243.3 | 0 | 0.0002 | 0.268
37 | 2025-06-24 09:11 | 0 | 0.0001 | 0.094 | 0.34 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
38 | 2025-06-24 09:11 | 0 | 0.0001 | 0.094 | 0.33 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
39 | 2025-06-24 09:11 | 0 | 0.0001 | 0.095 | 0.34 | 0 | 0 | 1.2 | 243.8 | 0 | 0.0002 | 0.28
40 | 2025-06-24 09:11 | 0 | 0.0001 | 0.092 | 0.33 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
41 | 2025-06-24 09:11 | 0 | 0.0001 | 0.091 | 0.33 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
42 | 2025-06-24 09:11 | 0 | 0.0001 | 0.09 | 0.32 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
43 | 2025-06-24 09:11 | 0 | 0.0001 | 0.09 | 0.32 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
44 | 2025-06-24 09:11 | 0 | 0.0001 | 0.09 | 0.32 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
45 | 2025-06-24 09:11 | 0 | 0.0001 | 0.09 | 0.32 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
46 | 2025-06-24 09:11 | 0 | 0.0001 | 0.086 | 0.32 | 0 | 0 | 1.1 | 243.3 | 0 | 0.0002 | 0.268
47 | 2025-06-24 09:11 | 0 | 0.0001 | 0.084 | 0.31 | 0 | 0 | 1.1 | 243.6 | 0 | 0.0002 | 0.268
48 | 2025-06-24 09:11 | 0 | 0.0001 | 0.081 | 0.3 | 0 | 0 | 1.1 | 243.7 | 0 | 0.0002 | 0.268
49 | 2025-06-24 09:11 | 0 | 0.0001 | 0.088 | 0.32 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
50 | 2025-06-24 09:12 | 0 | 0.0001 | 0.088 | 0.31 | 0 | 0 | 1.2 | 243.8 | 0 | 0.0002 | 0.28
51 | 2025-06-24 09:12 | 0 | 0.0001 | 0.087 | 0.31 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
52 | 2025-06-24 09:12 | 0 | 0.0001 | 0.081 | 0.3 | 0 | 0 | 1.1 | 243.7 | 0 | 0.0002 | 0.268
53 | 2025-06-24 09:12 | 0 | 0.0001 | 0.087 | 0.31 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
54 | 2025-06-24 09:12 | 0 | 0.0001 | 0.081 | 0.3 | 0 | 0 | 1.1 | 243.8 | 0 | 0.0002 | 0.268
55 | 2025-06-24 09:12 | 0 | 0.0001 | 0.087 | 0.31 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
56 | 2025-06-24 09:12 | 0 | 0.0001 | 0.085 | 0.3 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
57 | 2025-06-24 09:12 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
58 | 2025-06-24 09:12 | 0 | 0.0001 | 0.085 | 0.3 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
59 | 2025-06-24 09:12 | 0 | 0.0001 | 0.079 | 0.29 | 0 | 0 | 1.1 | 244.3 | 0 | 0.0002 | 0.269
60 | 2025-06-24 09:12 | 0 | 0.0001 | 0.084 | 0.3 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
61 | 2025-06-24 09:12 | 0 | 0.0001 | 0.084 | 0.3 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
62 | 2025-06-24 09:12 | 0 | 0.0001 | 0.084 | 0.3 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
63 | 2025-06-24 09:12 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
64 | 2025-06-24 09:12 | 0 | 0.0001 | 0.079 | 0.28 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
65 | 2025-06-24 09:12 | 0 | 0.0001 | 0.079 | 0.28 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
66 | 2025-06-24 09:12 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
67 | 2025-06-24 09:12 | 0 | 0.0001 | 0.072 | 0.27 | 0 | 0 | 1.1 | 244.1 | 0 | 0.0002 | 0.268
68 | 2025-06-24 09:12 | 0 | 0.0001 | 0.08 | 0.28 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
69 | 2025-06-24 09:12 | 0 | 0.0001 | 0.078 | 0.28 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
70 | 2025-06-24 09:13 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
71 | 2025-06-24 09:13 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
72 | 2025-06-24 09:13 | 0 | 0.0001 | 0.08 | 0.28 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
73 | 2025-06-24 09:13 | 0 | 0.0001 | 0.079 | 0.28 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
74 | 2025-06-24 09:13 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
75 | 2025-06-24 09:13 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
76 | 2025-06-24 09:13 | 0 | 0.0001 | 0.077 | 0.28 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
77 | 2025-06-24 09:13 | 0 | 0.0001 | 0.077 | 0.28 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
78 | 2025-06-24 09:13 | 0 | 0.0001 | 0.078 | 0.28 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
79 | 2025-06-24 09:13 | 0 | 0.0001 | 0.078 | 0.28 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
80 | 2025-06-24 09:13 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
81 | 2025-06-24 09:13 | 0 | 0.0001 | 0.075 | 0.28 | 0 | 0 | 1.1 | 244 | 0 | 0.0002 | 0.268
82 | 2025-06-24 09:13 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
83 | 2025-06-24 09:13 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
84 | 2025-06-24 09:13 | 0 | 0.0001 | 0.076 | 0.28 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
85 | 2025-06-24 09:13 | 0 | 0.0001 | 0.082 | 0.31 | 0 | 0 | 1.1 | 242.6 | 0 | 0.0002 | 0.267
86 | 2025-06-24 09:13 | 0 | 0.0001 | 0.091 | 0.34 | 0 | 0 | 1.1 | 242.3 | 0 | 0.0002 | 0.266
87 | 2025-06-24 09:13 | 0 | 0.0001 | 0.098 | 0.37 | 0 | 0 | 1.1 | 242.5 | 0 | 0.0002 | 0.267
88 | 2025-06-24 09:13 | 0 | 0.0001 | 0.108 | 0.41 | 0 | 0 | 1.1 | 242.2 | 0.0001 | 0.0002 | 0.266
89 | 2025-06-24 09:13 | 0 | 0.0001 | 0.108 | 0.41 | 0 | 0 | 1.1 | 241.8 | 0.0001 | 0.0002 | 0.266
90 | 2025-06-24 09:14 | 0 | 0.0001 | 0.106 | 0.4 | 0 | 0 | 1.1 | 241.9 | 0 | 0.0002 | 0.266
91 | 2025-06-24 09:14 | 0 | 0.0001 | 0.107 | 0.4 | 0 | 0 | 1.1 | 241.7 | 0.0001 | 0.0002 | 0.266
92 | 2025-06-24 09:14 | 0 | 0.0001 | 0.103 | 0.39 | 0 | 0 | 1.1 | 242.1 | 0 | 0.0002 | 0.266
93 | 2025-06-24 09:14 | 0 | 0.0001 | 0.102 | 0.38 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
94 | 2025-06-24 09:14 | 0 | 0.0001 | 0.104 | 0.39 | 0 | 0 | 1.1 | 242.3 | 0 | 0.0002 | 0.266
95 | 2025-06-24 09:14 | 0 | 0.0001 | 0.102 | 0.38 | 0 | 0 | 1.1 | 242.6 | 0 | 0.0002 | 0.267
96 | 2025-06-24 09:14 | 0 | 0.0001 | 0.097 | 0.36 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
97 | 2025-06-24 09:14 | 0 | 0.0001 | 0.09 | 0.34 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
98 | 2025-06-24 09:14 | 0 | 0.0001 | 0.087 | 0.32 | 0 | 0 | 1.1 | 243.2 | 0 | 0.0002 | 0.268
99 | 2025-06-24 09:14 | 0 | 0.0001 | 0.085 | 0.32 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
100 | 2025-06-24 09:14 | 0 | 0.0001 | 0.086 | 0.32 | 0 | 0 | 1.1 | 242.7 | 0 | 0.0002 | 0.267
101 | 2025-06-24 09:14 | 0 | 0.0001 | 0.09 | 0.32 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
102 | 2025-06-24 09:14 | 0 | 0.0001 | 0.096 | 0.34 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
103 | 2025-06-24 09:14 | 0 | 0.0001 | 0.101 | 0.36 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
104 | 2025-06-24 09:14 | 0 | 0.0001 | 0.101 | 0.36 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
105 | 2025-06-24 09:14 | 0 | 0.0001 | 0.101 | 0.36 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
106 | 2025-06-24 09:14 | 0 | 0.0001 | 0.099 | 0.35 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
107 | 2025-06-24 09:14 | 0 | 0.0001 | 0.1 | 0.36 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
108 | 2025-06-24 09:14 | 0 | 0.0001 | 0.101 | 0.36 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
109 | 2025-06-24 09:14 | 0 | 0.0001 | 0.098 | 0.35 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
110 | 2025-06-24 09:15 | 0 | 0.0001 | 0.095 | 0.35 | 0 | 0 | 1.1 | 243.8 | 0 | 0.0002 | 0.268
111 | 2025-06-24 09:15 | 0 | 0.0001 | 0.099 | 0.35 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
112 | 2025-06-24 09:15 | 0 | 0.0001 | 0.098 | 0.35 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
113 | 2025-06-24 09:15 | 0 | 0.0001 | 0.09 | 0.34 | 0 | 0 | 1.1 | 243.1 | 0 | 0.0002 | 0.267
114 | 2025-06-24 09:15 | 0 | 0.0001 | 0.082 | 0.31 | 0 | 0 | 1.1 | 243.1 | 0 | 0.0002 | 0.267
115 | 2025-06-24 09:15 | 0 | 0.0001 | 0.082 | 0.31 | 0 | 0 | 1.1 | 243.3 | 0 | 0.0002 | 0.268
116 | 2025-06-24 09:15 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
117 | 2025-06-24 09:15 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 243.1 | 0 | 0.0002 | 0.28
118 | 2025-06-24 09:15 | 0 | 0.0001 | 0.08 | 0.3 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
119 | 2025-06-24 09:15 | 0 | 0.0001 | 0.08 | 0.3 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
120 | 2025-06-24 09:15 | 0 | 0.0001 | 0.085 | 0.3 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
121 | 2025-06-24 09:15 | 0 | 0.0001 | 0.079 | 0.29 | 0 | 0 | 1.1 | 243.5 | 0 | 0.0002 | 0.268
122 | 2025-06-24 09:15 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
123 | 2025-06-24 09:15 | 0 | 0.0001 | 0.084 | 0.3 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
124 | 2025-06-24 09:15 | 0 | 0.0001 | 0.075 | 0.28 | 0 | 0 | 1.1 | 244 | 0 | 0.0002 | 0.268
125 | 2025-06-24 09:15 | 0 | 0.0001 | 0.082 | 0.29 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
126 | 2025-06-24 09:15 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
127 | 2025-06-24 09:15 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
128 | 2025-06-24 09:15 | 0 | 0.0001 | 0.081 | 0.29 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
129 | 2025-06-24 09:15 | 0 | 0.0001 | 0.083 | 0.3 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
130 | 2025-06-24 09:16 | 0 | 0.0001 | 0.077 | 0.29 | 0 | 0 | 1.1 | 243.1 | 0 | 0.0002 | 0.267
131 | 2025-06-24 09:16 | 0 | 0.0001 | 0.078 | 0.29 | 0 | 0 | 1.1 | 243 | 0 | 0.0002 | 0.267
132 | 2025-06-24 09:16 | 0 | 0.0001 | 0.079 | 0.29 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
133 | 2025-06-24 09:16 | 0 | 0.0001 | 0.077 | 0.29 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
134 | 2025-06-24 09:16 | 0 | 0.0001 | 0.077 | 0.29 | 0 | 0 | 1.1 | 243 | 0 | 0.0002 | 0.267
135 | 2025-06-24 09:16 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
136 | 2025-06-24 09:16 | 0 | 0.0001 | 0.085 | 0.32 | 0 | 0 | 1.1 | 242.4 | 0 | 0.0002 | 0.267
137 | 2025-06-24 09:16 | 0 | 0.0001 | 0.088 | 0.33 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
138 | 2025-06-24 09:16 | 0 | 0.0001 | 0.088 | 0.33 | 0 | 0 | 1.1 | 242.3 | 0 | 0.0002 | 0.266
139 | 2025-06-24 09:16 | 0 | 0.0001 | 0.087 | 0.33 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
140 | 2025-06-24 09:16 | 0 | 0.0001 | 0.085 | 0.32 | 0 | 0 | 1.1 | 243 | 0 | 0.0002 | 0.267
141 | 2025-06-24 09:16 | 0 | 0.0001 | 0.088 | 0.31 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
142 | 2025-06-24 09:16 | 0 | 0.0001 | 0.084 | 0.31 | 0 | 0 | 1.1 | 244.3 | 0 | 0.0002 | 0.269
143 | 2025-06-24 09:16 | 0 | 0.0001 | 0.092 | 0.33 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.282
144 | 2025-06-24 09:16 | 0 | 0.0001 | 0.078 | 0.28 | 0 | 0 | 1.2 | 245.4 | 0 | 0.0002 | 0.282
145 | 2025-06-24 09:16 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
146 | 2025-06-24 09:16 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
147 | 2025-06-24 09:16 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
148 | 2025-06-24 09:16 | 0 | 0.0001 | 0.078 | 0.28 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
149 | 2025-06-24 09:16 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
150 | 2025-06-24 09:17 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 245.3 | 0 | 0.0002 | 0.282
151 | 2025-06-24 09:17 | 0 | 0.0001 | 0.074 | 0.26 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.282
152 | 2025-06-24 09:17 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
153 | 2025-06-24 09:17 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
154 | 2025-06-24 09:17 | 0 | 0.0001 | 0.075 | 0.27 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
155 | 2025-06-24 09:17 | 0 | 0.0001 | 0.075 | 0.27 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
156 | 2025-06-24 09:17 | 0 | 0.0001 | 0.077 | 0.27 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
157 | 2025-06-24 09:17 | 0 | 0.0001 | 0.075 | 0.27 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
158 | 2025-06-24 09:17 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
159 | 2025-06-24 09:17 | 0 | 0.0001 | 0.076 | 0.27 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
160 | 2025-06-24 09:17 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
161 | 2025-06-24 09:17 | 0 | 0.0001 | 0.074 | 0.26 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
162 | 2025-06-24 09:17 | 0 | 0.0001 | 0.073 | 0.26 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
163 | 2025-06-24 09:17 | 0 | 0.0001 | 0.074 | 0.26 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
164 | 2025-06-24 09:17 | 0 | 0.0001 | 0.07 | 0.26 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
165 | 2025-06-24 09:17 | 0 | 0.0001 | 0.071 | 0.27 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
166 | 2025-06-24 09:17 | 0 | 0.0001 | 0.071 | 0.27 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
167 | 2025-06-24 09:17 | 0 | 0.0001 | 0.07 | 0.26 | 0 | 0 | 1.1 | 242.5 | 0 | 0.0002 | 0.267
168 | 2025-06-24 09:17 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
169 | 2025-06-24 09:17 | 0 | 0.0001 | 0.073 | 0.26 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
170 | 2025-06-24 09:18 | 0 | 0.0001 | 0.069 | 0.26 | 0 | 0 | 1.1 | 243.8 | 0 | 0.0002 | 0.268
171 | 2025-06-24 09:18 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
172 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
173 | 2025-06-24 09:18 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
174 | 2025-06-24 09:18 | 0 | 0.0001 | 0.074 | 0.26 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
175 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
176 | 2025-06-24 09:18 | 0 | 0.0001 | 0.07 | 0.25 | 0 | 0 | 1.2 | 243.8 | 0 | 0.0002 | 0.28
177 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
178 | 2025-06-24 09:18 | 0 | 0.0001 | 0.07 | 0.26 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
179 | 2025-06-24 09:18 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 242.7 | 0 | 0.0002 | 0.279
180 | 2025-06-24 09:18 | 0 | 0.0001 | 0.07 | 0.26 | 0 | 0 | 1.1 | 242.5 | 0 | 0.0002 | 0.267
181 | 2025-06-24 09:18 | 0 | 0.0001 | 0.08 | 0.29 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
182 | 2025-06-24 09:18 | 0 | 0.0001 | 0.082 | 0.3 | 0 | 0 | 1.2 | 242.5 | 0 | 0.0002 | 0.279
183 | 2025-06-24 09:18 | 0 | 0.0001 | 0.075 | 0.28 | 0 | 0 | 1.1 | 241.5 | 0 | 0.0002 | 0.266
184 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.27 | 0 | 0 | 1.1 | 242.5 | 0 | 0.0002 | 0.267
185 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.26 | 0 | 0 | 1.2 | 243.1 | 0 | 0.0002 | 0.28
186 | 2025-06-24 09:18 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 243.3 | 0 | 0.0002 | 0.28
187 | 2025-06-24 09:18 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
188 | 2025-06-24 09:18 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 243.3 | 0 | 0.0002 | 0.28
189 | 2025-06-24 09:18 | 0 | 0.0001 | 0.067 | 0.25 | 0 | 0 | 1.1 | 243.4 | 0 | 0.0002 | 0.268
190 | 2025-06-24 09:19 | 0 | 0.0001 | 0.073 | 0.26 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
191 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
192 | 2025-06-24 09:19 | 0 | 0.0001 | 0.072 | 0.26 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
193 | 2025-06-24 09:19 | 0 | 0.0001 | 0.07 | 0.25 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
194 | 2025-06-24 09:19 | 0 | 0.0001 | 0.07 | 0.25 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
195 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
196 | 2025-06-24 09:19 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
197 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
198 | 2025-06-24 09:19 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 243.8 | 0 | 0.0002 | 0.28
199 | 2025-06-24 09:19 | 0 | 0.0001 | 0.065 | 0.24 | 0 | 0 | 1.1 | 244.1 | 0 | 0.0002 | 0.268
200 | 2025-06-24 09:19 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
201 | 2025-06-24 09:19 | 0 | 0.0001 | 0.065 | 0.24 | 0 | 0 | 1.1 | 243.9 | 0 | 0.0002 | 0.268
202 | 2025-06-24 09:19 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
203 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 243.4 | 0 | 0.0002 | 0.28
204 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
205 | 2025-06-24 09:19 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
206 | 2025-06-24 09:19 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 243.8 | 0 | 0.0002 | 0.28
207 | 2025-06-24 09:19 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 243.6 | 0 | 0.0002 | 0.28
208 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
209 | 2025-06-24 09:19 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
210 | 2025-06-24 09:20 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 243.1 | 0 | 0.0002 | 0.28
211 | 2025-06-24 09:20 | 0 | 0.0001 | 0.071 | 0.25 | 0 | 0 | 1.2 | 243.4 | 0 | 0.0002 | 0.28
212 | 2025-06-24 09:20 | 0 | 0.0001 | 0.067 | 0.25 | 0 | 0 | 1.1 | 243.5 | 0 | 0.0002 | 0.268
213 | 2025-06-24 09:20 | 0 | 0.0001 | 0.07 | 0.25 | 0 | 0 | 1.2 | 243.7 | 0 | 0.0002 | 0.28
214 | 2025-06-24 09:20 | 0 | 0.0001 | 0.068 | 0.24 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
215 | 2025-06-24 09:20 | 0 | 0.0001 | 0.066 | 0.24 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
216 | 2025-06-24 09:20 | 0 | 0.0001 | 0.069 | 0.25 | 0 | 0 | 1.2 | 244 | 0 | 0.0002 | 0.281
217 | 2025-06-24 09:20 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
218 | 2025-06-24 09:20 | 0 | 0.0001 | 0.066 | 0.24 | 0 | 0 | 1.2 | 243.5 | 0 | 0.0002 | 0.28
219 | 2025-06-24 09:20 | 0 | 0.0001 | 0.062 | 0.23 | 0 | 0 | 1.1 | 243.2 | 0 | 0.0002 | 0.268
220 | 2025-06-24 09:20 | 0 | 0.0001 | 0.065 | 0.24 | 0 | 0 | 1.1 | 242.7 | 0 | 0.0002 | 0.267
221 | 2025-06-24 09:20 | 0 | 0.0001 | 0.065 | 0.24 | 0 | 0 | 1.1 | 242.7 | 0 | 0.0002 | 0.267
222 | 2025-06-24 09:20 | 0 | 0.0001 | 0.062 | 0.23 | 0 | 0 | 1.1 | 241.6 | 0 | 0.0002 | 0.266
223 | 2025-06-24 09:20 | 0 | 0.0001 | 0.064 | 0.24 | 0 | 0 | 1.1 | 241.6 | 0 | 0.0002 | 0.266
224 | 2025-06-24 09:20 | 0 | 0.0001 | 0.063 | 0.24 | 0 | 0 | 1.1 | 241.9 | 0 | 0.0002 | 0.266
225 | 2025-06-24 09:20 | 0 | 0.0001 | 0.063 | 0.24 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
226 | 2025-06-24 09:20 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 242.7 | 0 | 0.0002 | 0.279
227 | 2025-06-24 09:20 | 0 | 0.0001 | 0.066 | 0.24 | 0 | 0 | 1.2 | 242.8 | 0 | 0.0002 | 0.279
228 | 2025-06-24 09:20 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 243.2 | 0 | 0.0002 | 0.28
229 | 2025-06-24 09:20 | 0 | 0.0001 | 0.061 | 0.23 | 0 | 0 | 1.1 | 242.8 | 0 | 0.0002 | 0.267
230 | 2025-06-24 09:21 | 0 | 0.0001 | 0.064 | 0.24 | 0 | 0 | 1.1 | 243.2 | 0 | 0.0002 | 0.267
231 | 2025-06-24 09:21 | 0 | 0.0001 | 0.061 | 0.23 | 0 | 0 | 1.1 | 242.9 | 0 | 0.0002 | 0.267
232 | 2025-06-24 09:21 | 0 | 0.0001 | 0.06 | 0.22 | 0 | 0 | 1.1 | 243.1 | 0 | 0.0002 | 0.267
233 | 2025-06-24 09:21 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 243 | 0 | 0.0002 | 0.279
234 | 2025-06-24 09:21 | 0 | 0.0001 | 0.065 | 0.24 | 0 | 0 | 1.1 | 242.6 | 0 | 0.0002 | 0.267
235 | 2025-06-24 09:21 | 0 | 0.0001 | 0.062 | 0.23 | 0 | 0 | 1.1 | 242.3 | 0 | 0.0002 | 0.266
236 | 2025-06-24 09:21 | 0 | 0.0001 | 0.06 | 0.23 | 0 | 0 | 1.1 | 241.8 | 0 | 0.0002 | 0.266
237 | 2025-06-24 09:21 | 0 | 0.0001 | 0.061 | 0.23 | 0 | 0 | 1.1 | 242 | 0 | 0.0002 | 0.266
238 | 2025-06-24 09:21 | 0 | 0.0001 | 0.062 | 0.23 | 0 | 0 | 1.1 | 241.9 | 0 | 0.0002 | 0.266
239 | 2025-06-24 09:21 | 0 | 0.0001 | 0.062 | 0.23 | 0 | 0 | 1.1 | 242.1 | 0 | 0.0002 | 0.266
240 | 2025-06-24 09:21 | 0 | 0.0001 | 0.061 | 0.23 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
241 | 2025-06-24 09:21 | 0 | 0 | 0.058 | 0.22 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
242 | 2025-06-24 09:21 | 0 | 0.0001 | 0.06 | 0.23 | 0 | 0 | 1.1 | 242.2 | 0 | 0.0002 | 0.266
243 | 2025-06-24 09:21 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 243 | 0 | 0.0002 | 0.279
244 | 2025-06-24 09:21 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
245 | 2025-06-24 09:21 | 0 | 0.0001 | 0.062 | 0.22 | 0 | 0 | 1.2 | 243.9 | 0 | 0.0002 | 0.28
246 | 2025-06-24 09:21 | 0 | 0.0001 | 0.066 | 0.24 | 0 | 0 | 1.2 | 244.2 | 0 | 0.0002 | 0.281
247 | 2025-06-24 09:21 | 0 | 0.0001 | 0.066 | 0.24 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.282
248 | 2025-06-24 09:21 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 244.9 | 0 | 0.0002 | 0.282
249 | 2025-06-24 09:21 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.282
250 | 2025-06-24 09:22 | 0 | 0.0001 | 0.066 | 0.23 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.281
251 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
252 | 2025-06-24 09:22 | 0 | 0.0001 | 0.066 | 0.23 | 0 | 0 | 1.2 | 244.9 | 0 | 0.0002 | 0.282
253 | 2025-06-24 09:22 | 0 | 0.0001 | 0.07 | 0.24 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.294
254 | 2025-06-24 09:22 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
255 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
256 | 2025-06-24 09:22 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
257 | 2025-06-24 09:22 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.5 | 0 | 0.0002 | 0.281
258 | 2025-06-24 09:22 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
259 | 2025-06-24 09:22 | 0 | 0.0001 | 0.067 | 0.24 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
260 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.5 | 0 | 0.0002 | 0.281
261 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
262 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
263 | 2025-06-24 09:22 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
264 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
265 | 2025-06-24 09:22 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 244.9 | 0 | 0.0002 | 0.282
266 | 2025-06-24 09:22 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.282
267 | 2025-06-24 09:22 | 0 | 0.0001 | 0.064 | 0.23 | 0 | 0 | 1.2 | 244.6 | 0 | 0.0002 | 0.281
268 | 2025-06-24 09:22 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
269 | 2025-06-24 09:22 | 0 | 0.0001 | 0.061 | 0.22 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
270 | 2025-06-24 09:23 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.1 | 0 | 0.0002 | 0.281
271 | 2025-06-24 09:23 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.3 | 0 | 0.0002 | 0.281
272 | 2025-06-24 09:23 | 0 | 0.0001 | 0.068 | 0.23 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.294
273 | 2025-06-24 09:23 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 245.3 | 0 | 0.0002 | 0.294
274 | 2025-06-24 09:23 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 245.4 | 0 | 0.0002 | 0.294
275 | 2025-06-24 09:23 | 0 | 0.0001 | 0.065 | 0.22 | 0 | 0 | 1.2 | 245.3 | 0 | 0.0002 | 0.294
276 | 2025-06-24 09:23 | 0 | 0.0001 | 0.065 | 0.23 | 0 | 0 | 1.2 | 245.3 | 0 | 0.0002 | 0.282
277 | 2025-06-24 09:23 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 244.9 | 0 | 0.0002 | 0.282
278 | 2025-06-24 09:23 | 0 | 0.0001 | 0.062 | 0.22 | 0 | 0 | 1.2 | 244.5 | 0 | 0.0002 | 0.281
279 | 2025-06-24 09:23 | 0 | 0.0001 | 0.061 | 0.22 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
280 | 2025-06-24 09:23 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.294
281 | 2025-06-24 09:23 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 245.9 | 0 | 0.0002 | 0.283
282 | 2025-06-24 09:23 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 246.6 | 0 | 0.0002 | 0.296
283 | 2025-06-24 09:23 | 0 | 0.0001 | 0.064 | 0.22 | 0 | 0 | 1.2 | 245.9 | 0 | 0.0002 | 0.295
284 | 2025-06-24 09:23 | 0 | 0.0001 | 0.061 | 0.21 | 0 | 0 | 1.2 | 245.6 | 0 | 0.0002 | 0.282
285 | 2025-06-24 09:23 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 245.7 | 0 | 0.0002 | 0.295
286 | 2025-06-24 09:23 | 0 | 0.0001 | 0.063 | 0.22 | 0 | 0 | 1.2 | 245.2 | 0 | 0.0002 | 0.282
287 | 2025-06-24 09:23 | 0 | 0.0001 | 0.064 | 0.22 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.294
288 | 2025-06-24 09:23 | 0 | 0.0001 | 0.065 | 0.22 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.294
289 | 2025-06-24 09:23 | 0 | 0.0001 | 0.064 | 0.22 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.294
290 | 2025-06-24 09:24 | 0 | 0.0001 | 0.062 | 0.22 | 0 | 0 | 1.2 | 245.7 | 0 | 0.0002 | 0.282
291 | 2025-06-24 09:24 | 0 | 0.0001 | 0.062 | 0.22 | 0 | 0 | 1.2 | 246 | 0 | 0.0002 | 0.283
292 | 2025-06-24 09:24 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 246 | 0 | 0.0002 | 0.295
293 | 2025-06-24 09:24 | 0 | 0.0001 | 0.065 | 0.22 | 0 | 0 | 1.2 | 245.9 | 0 | 0.0002 | 0.295
294 | 2025-06-24 09:24 | 0 | 0 | 0.06 | 0.21 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.281
295 | 2025-06-24 09:24 | 0 | 0.0001 | 0.061 | 0.22 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
296 | 2025-06-24 09:24 | 0 | 0.0001 | 0.065 | 0.22 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.294
297 | 2025-06-24 09:24 | 0 | 0.0001 | 0.06 | 0.21 | 0 | 0 | 1.2 | 245.1 | 0 | 0.0002 | 0.282
298 | 2025-06-24 09:24 | 0 | 0.0001 | 0.064 | 0.22 | 0 | 0 | 1.2 | 245 | 0 | 0.0002 | 0.294
299 | 2025-06-24 09:24 | 0 | 0.0001 | 0.066 | 0.22 | 0 | 0 | 1.2 | 244.9 | 0 | 0.0002 | 0.294
300 | 2025-06-24 09:24 | 0 | 0.0001 | 0.064 | 0.22 | 0 | 0 | 1.2 | 244.8 | 0 | 0.0002 | 0.294
301 | 2025-06-24 09:24 | 0 | 0.0001 | 0.06 | 0.21 | 0 | 0 | 1.2 | 244.7 | 0 | 0.0002 | 0.281
302 | 2025-06-24 09:24 | 0 | 0 | 0.059 | 0.21 | 0 | 0 | 1.2 | 244.5 | 0 | 0.0002 | 0.281
303 | 2025-06-24 09:24 | 0 | 0.0001 | 0.06 | 0.21 | 0 | 0 | 1.2 | 244.4 | 0 | 0.0002 | 0.281
304 | 2025-06-24 09:24 | 0 | 0 | 0.037 | 0.19 | 0 | 0 | 0.8 | 244.7 | 0 | 0.0002 | 0.196
305 | 2025-06-24 09:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.6 | 0 | 0 | 0
306 | 2025-06-24 09:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.7 | 0 | 0 | 0
307 | 2025-06-24 09:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.7 | 0 | 0 | 0
308 | 2025-06-24 09:24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.2 | 0 | 0 | 0

## Comparison
TD With
Calculate time
|  |  | readings | seconds | Total seconds | Minutes | Totals | Average Amps | Watts
307 readings at 3s each less 8 readings (Start & Finish ) |  |  | 299 | 3 | 897 | 14.95
Calculate total amps |  |  | 299 |  |  |  | 299.8 | 1.0027
Calculate Average Volts |  |  | 299 |  |  |  | 73634.4 | 246.2689
Calculate watts | [8 empty] | 246.9278
Calculate Watts used in 1 hour | [8 empty] | 922.8927
Total KWh | [8 empty] | 0.92289
TD Without
308 readings at 3s each less 9 readings (Start & Finish ) |  |  | 299 | 3 | 897 | 14.95
Calculate total amps |  |  | 299 |  |  |  | 349.6 | 1.1692
Calculate Average Volts |  |  | 299 |  |  |  | 72900.2 | 243.8134
Calculate watts | [8 empty] | 285.0741
Calculate Watts used in 1 hour | [8 empty] | 1065.4645
Total KWh | [8 empty] | 1.0655
Comparison
| Without | 1.0655
| With | 0.92289
| Difference | 0.14257
| Percentage | 13.38%